## CARNET1
Equiment Name | Manf | $$$ | Ser No | Property tag | Wt | Size
Getting off Knorr in Iceland and going to Sweden
Den-Charleston load on the Knorr..Woods Hole-Iceland-Sweden…Oden North Pole-Sweden-???
MMCR container |  | 20000 |  |  | 10000 | 8' X 20' X 8'6"
Transformer |  |  |  |  | 100
UPS |  |  |  |  | 150
Electronic rack |  |  |  |  | 50
Table and chairs |  |  |  |  | 10
Internet router box
MMCR parts
Traveling Wave Tube Model 187Ka |  | 21000 | SN 14 | CD0000654235 | 120
Instrument Up/Down converter, Model R 06-35-06 |  | 4000 | SN 15Ka | CD0000654236 | 20
Beach air filter F-65C |  | 20 |  |  | 2
RF Attenuator Model 511A-488/599 |  | 300 | SN 99 |  | 2
RF Diode Model NC53281 34.86 |  | 400 | SN 8628 |  | 2
Circulator Model WJR-NC |  | 100 | SN 143 |  | 2
Pre-amplifier Model SL350-3W |  | 600 |  |  | 2
4 port circulator Model KR320 |  | 300 | SN 105 |  | 2
T-R switches Model 570A-SY |  | 4800 | SN 32, 34, 35, 36 |  | 2
Pulse controller, homemade |  | 200 |  |  | 10
Vaisala receiver/modulator Model 60001046 | Vaisala | 2000 | SN 7259 | CD0000654233 | 25
Vaisala interface Model 60001047 | Vaisala | 6000 | SN 7450 | CD0000654234 | 25
Radar PC Model Industrial 600 |  | 500 | SN 16568 | CD0001041243 | 40
DMS PC Model Industrial 600 |  | 500 | SN 18772 | CD0001041234 | 40
Oscilloscope Model TAS465 |  | 300 | SN 8032299 | CD0000654230 | 25
Tiltmeter Model 900 |  | 50 | SN 2490 |  | 5
Power Supply 5/12 VDC Model MAP55-4000 |  | 40 |  |  | 5
Power Supply 12 VDC Model MAP-1012 |  | 40 |  |  | 5
Bench Power Supply Model 1710 |  | 40 | SN 261-01543 |  | 5
Signal Source Model GKA-34B |  | 1200 |  |  | 5
Signal Generator Model 8012B |  | 150 | SN 1448A11222 |  | 10
Power Meter |  | 700 | SN1848A19257 |  | 5
Total |  | 63240
Large Blue box
Radar PC, DMS PC, UPS, Vaisala boxes
Blue box
TWT, UP/DN convertor,
White box
power suplies, spare wave guide, scope, misc cables
signal generator
Folding table
Folding chairs (2)
Gray box
ceilometer laptop and docking station, tool bag
Mailbox spare laptop PC

## CARNET2
Equiment Name | Manf | $$$ | Ser No | Property tag | Wt | Size
Getting off Knorr in Iceland and going to Sweden
MMCR antenna (wooden crate) |  | 5000 |  |  | 1300 | 92" X 100" X 67.5"

## CARNET3
Equiment Name | Manf | $$$ | Ser No | Property tag | Wt | Size
Items returning to the US fm Sweden
Items returning to US fm Sweden
LiCor | LiCor | 8000 | 7H/B-1196 | CD0001441326 | 30 |  | New
LiCor | LiCor | 8000 | 7H/B-0072 |  |  |  | Recal
ceilometer CT25k | Vaisala | 15000 | P2710019 |  | 190 | 5'x1.5'x1.5'
ceilometer | Vaisala | 15000 |  | CD0000764697 | 190 | 5'x1.5'x1.5'
ceilometer PC | Dell (laptop) | 3000 |  | CD0001039049
Mail Box radiometer | Radiometrics | 50000 | 1 |  | 300
Mail Box radiometer PC | Dell | 3000 | SN U35301 | CD0001317672
Mail Box radiometer laptop |  | 500 |  | CD0000767144
Mustang suits (2)
Misc tools |  | 1000
Total |  | 103500
Gray box
2- LiCor Units w/cables
Small gray box
rope, 13VDC power supply, AC/DC adapters, CAT cables
various 9/25 pin cables
Very large grey box
Mailbox radiometer w/cables, corner mount, special wrenches
Heavy red box
hardware, big tools, electrical tape, tower belt, unistrut parts, wire cable and cutters
u-bolts, hose clamps
Wooded box
ceilometer w/cables (no base)
Wooden box
ceilometer w/cables and base
Gray box
Ceilometer laptop w/docking station
tools
Spare Mailbox laptop

## KNORR
Equiment Name | Manf | $$$ | Ser No | Property tag
Items returning on the Knorr
Items returning to US on Knorr
tower hardware
tower section |  | 50
MW15 ballon sounding system | Vaisala | 20000 |  | CD0000683943
Ground check GC25 | Vaisala | 1000 | SN A19507
Balloon PC (MICRO) |  | 500 |  | CD0000520186
Balloon PC (Spare Dell) |  | 500 | SN H55RR
Helium regulator |  | 20
Flux PC 9 |  | 1500 |  | CD0000764728
Flux PC 10 |  | 1500 |  | CD0000764730
sonic anemometer | Gill | 5000 |  | CD0001441644
sonic anemometer | Gill | 5000 |  | CD0001441645
optical rain gauge Mod ORG-815-DA | OSI | 2000 | SN 800101
T/RH HMP235 | Vaisala | 500 | SN C1110008
T/RH HMP330 | Vaisala
PSP radiometer | Eppley | 1500 | 34092F3
PIR radiometer | Eppley | 1500 | 34302F3
Data logger CR 1000 Mean1 | Campbell | 500 | SN 7908
Data logger CR 1000 Mean 2 | Campbell | 500 | SN 7459
Data logger CR 1000 Motion Pack | Campbell | 500 | SN 7911
SST 1 2-wire |  | 100
SST 2 4-wire |  | 100
Wireless modems and cables |  | 4000
Expendables
200 gm balloons | Kaymont | 1000
RS92 digital radiosondes | Vaisala | 20000
Total |  | 67270
MW21 gray box |  |  |  | K1
MW15, Texas PC, monitor, spare regulator, manuals,
power strip, large crescent wrench, 4-port serial to USB
DAS 9 gray box |  |  |  | K2
DAS9, monitor, power strip, GPS antenna and power box,
dual KB switch and cables, 2-80GB Lacie
DAS 10 gray box |  |  |  | K3
PC, monitor, hub, back-up CD's, power strip
Wirelass gray box |  |  |  | K4
2-900GHx antennae, 8-2.4GHz antennae, 6 antenna mounting posts,
7 mounting brackets, 5 PC cables (4- antenna extension cables,
10 antennae to Type-N cables, 8 signal splitter boxes, connectors
Spares gray box |  |  |  | K5
GPS heading unit with mounting bar, CD-R's, connectors box,
LiCor CT25K sonic manuals, HMP330 T/RH spare,
Psychrometer, spare motion back units
Cables and SST large gray box |  |  |  | K6
2 SST cables (1 reel), sonic cables
Aspirator long gray box |  |  |  | K7
long aspirator, OSI rain gauge w/cables, spare aspirator motor
Red box |  |  |  | K8
Eppley PIR and PSP w/cables, Campbell Mean 2 box
radiometer mount
Sonic blue box |  |  |  | K9
sonic
Sonic blue box |  |  |  | K10
sonic
Campbell large gray box |  |  |  | K11
Motion pack Campbell box, Mean 1 Campbell box, Sonic elec box
Motion pack, rope, 2-corner mounts, sonic pipe mount
Tower section (6')
SST poles
wooden pallet (ceilometer base)
GPS pole
balloon antennae poles (2)
4- radio sonde boxe
2 balloon boxes

## Boxes
| size | Wt (estimate)
Antenna crate | 92" X 100" X 67.5" | 850
Sea container | 8' X 20' X 8'6" | 12000
Everything below will be packed into the container
Blue return from Sweden
Stay w/MMCR on Oden
Green to Finland
Large Blue box | 39x27x48 | 250
Radar PC, DMS PC, UPS, Vaisala boxes
Blue box | 38x38x34 | 200
TWT, UP/DN convertor, | includes roof plate
White box | 27x36x18 | 75
power suplies, spare wave guide, scope, misc cables
signal generator
Packing tub | 22x18x10 | 20
misc parts
Packing tub | 23x16x17 | 80
antenna straps, and mounting hardware
Gray box | 29x20x17 | 70
2- LiCor Units w/cables
Small gray box | 19x19x18 | 30
rope, 13VDC power supply, AC/DC adapters, CAT cables
various 9/25 pin cables
Very large grey box | 43x30x27 | 160
Mailbox radiometer w/cables, corner mount, special wrenches
Heavy red box | 26x21x20 | 100
hardware, big tools, electrical tape, tower belt, unistrut parts, wire cable and cutters
u-bolts, hose clamps
Wooded box | 42x18x18 | 104
ceilometer w/cables (no base)
Wooden box | 50x20x20 | 160 | being shipped directly to Woods Hole
ceilometer w/cables and base
Gray box | 29x20x17 | 70
ceilometer laptop and docking station, tool bag, Mailbox spare laptop PC
Very large grey box | 43x30x27 | 120
Mail box tower PC, spare MW15 tower PC, MB monitor, spare monitor
Stay on Knorr
MW21 gray box | 34x28x19 | 120
MW15, Texas PC, monitor, spare regulator, manuals,
power strip, large crescent wrench, 4-port serial to USB
DAS 9 gray box | 29x27x20 | 100
DAS9, monitor, power strip, GPS antenna and power box,
dual KB switch and cables, 2 80GB Lacie (1 power source)
DAS 10 gray box | 29x27x20 | 100
PC, monitor, hub, back-up CD's, power strip
Wirelass gray box | 31x30x22 | 100
2-900GHx antennae, 8-2.4GHz antennae, 6 antenna mounting posts,
7 mounting brackets, 5 PC cables (labeled, 4- antenna extension cables,
10 antenna to Type-N cables, 8 signal splitter boxes, connectors
router
Gray box | 29x21x17 | 60
GPS heading unit with mounting bar, CD-R's, connectors box,
LiCor, CT25K, and sonic manuals, HMP330 T/RH spare,
Psychrometer, spare motion back units, office supplies
Large gray box | 30x30x22 | 80
2 SST cables (1 reel), sonic cables
Long gray box | 50x17x13 | 40
long aspirator, OSI rain gauge w/cables, spare aspirator motor
Red box | 29x17x20 | 100
Eppley PIR and PSP w/cables, Campbell Mean 2 box
radiometer mounts
Small blue box | 35x13x10 | 30
sonic
Small blue box | 35x13x10 | 30
sonic
Large gray box | 30x30x22 | 80
Motion pack Campbell box, Mean 1 Campbell box, Sonic elec box
Motion pack, rope, 2-corner mounts, sonic pipe mount
MISC non-boxes
Tower section (6') | 6' | 7
SST poles | 8' | 25
wooden pallet (ceilometer base) | 4'x4'x.5' | 20
GPS pole | 4' | 1
balloon antennae poles (2) | 5' | 3
4- radio sonde boxe | 28x12x18 | 40 | ea
2 balloon boxes | 20x16x13 | 40 | ea
Folding table |  | 15
Folding chairs (2) | 40"x20"x3" | 5 | ea
garden hose 2-100' rolls 5/8" | 12x12x12 | 5 | ea
Totals |  | 14440