Monitoring cruise on R/V Ronald H. Brown

C. Fairall 6/29/00

cfairall@etl.noaa.gov

The ETL radar group operated a microwave radiometer (MWR) manufactured by Radiometrics Inc. (Boulder) for this cruise.  Contact Duane Hazen (ETL) for details on the instrument.  Duane used sondes and tipcals to ‘calibrate’ the system and gave me hourly files.  I wrote a matlab program that read his data, stripped out the stuff I wanted, and wrote new files with the raw 21-s time resolution (micro_s.txt) and hourly time resolution (micro_h.txt).  The data on the files is as follows:

micro_s.txt 		size= (111566,3)

:,1	decimal julian date	 (301 to 337)

:,2	IWV, integrated atmospheric water vapor (column precipitable water), cm

:,3	IWL, integrated cloud liquid content, cm

micro_h.txt 		size= (672,6)

:,1	decimal julian date	 (301 to 337)

:,2	IWC, integrated atmospheric water vapor (column precipitable water), cm

:,3	IWL, integrated cloud liquid content, cm

:,4	number of 21-s values in hourly median

:,5	standard deviation of IWV, cm

:,6	standard deviation of IWL, cm

To get this data, go to my ftp site:

ftp etl.noaa.gov

username> anonymous

password> your email

cd /pub/et7/users/cwf/epic/epicmonitor/fall99/microwave

Included on the ftp site are the original hourly files from Duane Hazen (YYMMDDHH.new), his descriptions (datainfo.txt, pacs.txt), and the matlab file I did the processing with (micro_red.txt).  I have also included a second matlab file (micortxt_red.m) that will read micro_h.txt and micro_s.txt and plot a couple of representative days.  These plots illustrate some problems with the data.

1.  The tends to be a time-varying bias in the IWL; it doesn’t give zero when it is clear buy something like 0.003 cm (30 g/m^2).  To use this data quantitatively, this bias must be computed and subtracted (I think).

2.  In the deep convection regions there are a lot of bad values caused by rain water on the system.

microtxt_rec.m also reads in an hourly ceilometer file (epic99_cloudf_hr.txt),interpolates it to the microwave time base, and plots the ‘background’ ILW values for cloudfree conditions.  This shows the bias very well. See the figure cloudfree.jpg .