EPIC2001 Ronald H. Brown

Report #4

C. W. Fairall et al.

September 30, 2001

The RHB has been on station at 10 N 95 W for 17 days and we plan to depart tonight.   We have been conducting oceanographic and atmospheric operations as planned.  The CTD, the MMP (University of Washington modular microstructure profiler), the SPMR (University of California at Santa Barbara solar radiative flux ocean profiler), and the balloon soundings are the primary externally deployed systems in operation.  We are doing one CTD (around local noon), about 50 MMP’s, about 7 SPMR’s, and 6 balloon soundings per day.  The success rate for winds on the balloon soundings is very good (about 5/6).  We have also been capturing one or two SEAWIFS overpasses every day around noon.  On September 19 we began a schedule of XCP (expendable current profiler) drops every 8 hours.  The launches were concluded on September 25 with 18 of 20 completely successful.

In the past 8 days the weather has been predominantly very active convectively with only a short break in the disturbances on September 25.  In that 8-day period we received about 270 mm of rain, average net heat flux into the ocean was about -100 W/m^2, and the ocean cooled about 0.5 C.

Mike Gregg reports that during the last week MMP profiles show mixing increased in the lower part of the thermocline, and the data record grew long enough to show convincing evidence of mixing following the vertical propagation of near-inertial motions.  Simultaneously, the thermocline thickened and isolines of salinity and oxygen descended, suggesting that the mixing may have been responsible.  Oxygen and salinity changes, however, also were found deeper in the water column.  Advection is the only feasible reason for these changes.  Determining how much of the thermocline changes resulted from mixing and how much from advection will require detailed analysis.

The UCSB ocean radiant heating group continues to measure profiles of  in water spectral irradiance, and collect water samples for chlorophyll and nutrient analysis. A preliminary look at the in-water solar flux data shows spectral diffuse attenuation coefficients that are mostly invariant within the upper ocean mixed layer (~30 m). This suggests that the fraction of the incident solar flux that passes beyond 30 meters is changing only slightly during the sampling period. However, we see more substantial changes in the solar flux divergence (normalized to surface values) near the top of the thermocline. The heating rate of a 10 m thick layer at the top of the thermocline (30 to 40 m) varies by more than 10 W m^2 (based on a climatological surface value of 170 W m^2). Such changes in (surface normalized) ocean radiant heating follow variations in chlorophyll concentration within the "deep chlorophyll maximum" (~40m). Chlorophyll concentration at 40 meters ranges from near 0.2 to more than 0.6 mg m^3.  
A doubling of chlorophyll concentration (from ~0.15 to just over 0.3 mg m^3) within the mixed layer was just recently observed (9/28). We expect a noteworthy change in the (surface normalized) solar flux at the mixed layer base. A large amount of cloud variability needs to be sorted out before reporting on these data. We will begin CTD/Rosette/SPMR data collection along the 95W line (from 10N to the 
equator) shortly.

Amparo Martinez reports continued good measurements with the air aerosol/chemistry system.  A pump problem with the SO2 system was fixed.  The system has a small unexplained negative bias, but seems to be indicating reasonable temporal variability and shows noticeable sensitivity to the ship’s plume.  Good phytoplankton samples have also been obtained.  The chromatograph continues to have problems and efforts to repair it have been for nought.  Samples are still being stored for later analysis.

The CSU group is getting good C-band radar data and balloon launches are going very well (see their separate daily reports on JOSS).   The cloud radar/microwave radiometers are fully function; the upward pointing IR is still down for lack of a power supply.  The mini-MOPA lidar is operating almost about 60% of the time, distributed through the day.  Range performance for Doppler is 4-6 km and for water vapor is 0.5-1.0 km depending on aerosol and humidity.

Some problems were discovered in logging of some of the SCS events around September 28 and 1 or 2 days of data may not be archived.  Jonathon Shannahof is investigating.

General Status report on Measurement Systems for September 14 - 21

1	Air-sea flux system			  99%

2	Solar and IR fluxes			100%

3	Bulk meteorology			100%

4	Ceilometer				100%

5	0.92 GHZ wind profiler		  95%

6	Raingauges (4 epic)			100%

7	35 GHZ cloud radar			100 %

8	20, 31 Ghz radiometers		100 %

9	90 GHZ radiometer			100 %

10	IR thermometer (upward)		  Out

11	Mini-MOPA Doppler/H2O lidar	100%

12	Aerosol and air chemistry		 75%

13	MMP					50/day

14	SPMR					 8/day

15	Rawindsondes: thermodynaics	  	 6/day

16	Rawindsondes: winds	 		~5/day

17	C-band Doppler radar			100%

18	CTD					 1/day

19	ADCP					100%

20	Terrascan				100%

21	IMET					100%

22	SCS					100%

23	Thermosalinograph			100%

24	AOML CO2 system			 25%

25	Flourometer				   ?

26	CIRMS (APL IR SST	)		100%

27	APL 2-m sea temperatuere		100%

28	Portable radiation package (BNL)	100%