PACS 2004 Cruise Radiometer Report

Hughs

October 5, 2006

Duane Hazen

Summary

The Microwave Radiometer from the Hughs radiometer data has been reprocessed.  The calibration was done with radiosonds since there were no tip curve files.

The Radiometer and Sond vapor and liquid for the cruise looked like this.

NOTE:  The data is presented in units of cm for vapor and g/m2 for liquid.  The spikes in liquid indicate major rain events

Scatter plot of sond verses radiometer look like this.

QC plot of TB23 verses TB31

The mean difference numbers are. (Sond – Radiometer)

| Variable | Mean Difference |
| --- | --- |
| TB 20.6 GHz | 1.0154625 |
| TB 31.6 GHz | 1.322688 |
| TB 90.0 GHz | 2.536668 |
| Vapor | 0.048400 |
| Liquid | 13.635652 |