STRATUS 2003 Cruise Radiometer Report

Hughs

September 15, 2006

Duane Hazen

Summary

The Microwave Radiometer from the Hughs radiometer data has been reprocessed.  The tip curve calibration hand calculated from all the tip curves taken.  The main point used for good or bad was symmetry of the tip curve, the next was the air mass error.

The Radiometer and Sond vapor and liquid for the cruise looked like this.

NOTE: That the daily spikes starting on 319 are probably not Atmospheric.  There could be from the moon or sun passing close to the radiometer beam or caused by some activity on the ship.

NOTE:  The data is presented in units of cm for vapor and g/m2 for liquid.  The spikes in liquid indicate major rain events

Scatter plot of sond verses radiometer look like this.

QC plot of TB23 verses TB31

The Brightness temperature looked like this.

The mean difference numbers are. (Sond – Mailbox)

| Variable | Mean Difference |
| --- | --- |
| TB 20.6 GHz | 4.373 |
| TB 31.6 GHz | -1.585 |
| Vapor | -0.048 |
| Liquid | -47.127 |