Stratus 2005 Cruise Radiometer Report

Model 1100

February 17, 2006

Duane Hazen

Summary

The Microwave Radiometer Model 1100 data has been reprocessed.  The tip curve calibration acceptance test was adjusted to account for weather and sea conditions to keep the radiometer in calibration.

The Radiometer and Sond vapor and liquid for the cruise looked like this.

NOTE:  The data is presented in units of cm for vapor and g/m2 for liquid.  The spikes in liquid indicate major rain events

The mean of the difference of sond minus radiometer for clear skies is.

| Vapor | -0.052 cm |
| --- | --- |
| Liquid | -5.027 g/m2 |

Scatter plots of sond verses radiometer for clear conditions look like this.

QC removed the following data.