UCTD Probe TA-1000 LOST

11/3/2007 1800 GMT CAST #43 SHIP SPEED 8.5 KNOTS

200m SPOOLED ON TAIL

4TH CAST ON NEW SPLICE

INSTRUMNET DROPPED ON DEPLOYMNET OPERATOR STATED SUDDEN JERKING BACK LASH THEN NO TENSION

BREAK MEASURED TO HAVE TAKEN PLACE AT ABOUT 250 METERS

LOCATION ALSO SHOWED AN ADDITIONAL FRAY NEAR CUT (SEE PHOTO)

NOT NEAR ANY SPLICE

SCENARIOS:

1. BACKLASH CAUGHT SOMETHING, IE. THE BLOCK, DAVIT

SHIPS SPEED RECENTLY REDUCED TO 8.5 KNOTS FROM 12KNOTS

2. INSTRUMENT WENT UNDER VESSEL AND CUT BY PROPELLER

3. FISH BITE, MARLIN, SHARK

4. OTHER

TOTAL CASTS ON LINE 244

25 PRACTICE

108 LEG 1

68 LEG 2

43 LEG 3