MATLAB Flux Eval routines

Table of Contents

I.	Installation guidelines	1

II.	Getting started	2

1.	Adding folders to the Search Path using the Set Path Dialog Box	2

2.	Flux m-files nomenclature and filename renaming procedure	3

3.	Configuring read_parameters_Xcruise_yyyy.m	4

4.	Starting the flux package	6

5.	Adding the flux package to the task scheduler	7

III.	Flux m-files description	8

1.	flux_eval_Xcruise_yyyy.m	9

2.	Additional MATLAB scripts of possible value	12

3.	MATLAB figure windows description	13

IV.	Contact	15

# Installation guidelines

This section is just a brief summary of the different steps needed to installed and run automatically the flux package. For more details on the various steps, refer to the steps’ corresponding page number of chapter II, Getting started.

1.	Add your flux package folders to the MATLAB Search Path                                  	page 2

To do so:

*  Open the dialog box by selecting File > Set Path

*  Select the option Add with Subfolders

*  Select the folder you want to add to the search path.

*  Click SAVE to keep changes for use in the current and future sessions.

2.	Rename your m-files scripts                                                                                         	page 3

Use filerename.m

3.	Configure read_parameters_Xcruise_yyyy.m                                                               	page 4

4.	Edit the main flux script flux_eval_Xcruise_yyyy.m                                                   	page 6

5.	Edit and Add Run_Flux_Eval.bat to the Windows Task Scheduler                        	page 7

# Getting started

## Adding folders to the Search Path using the Set Path Dialog Box

First, get all the files and put them in a directory of your choice.  For instance,  D:\AUTOFlux_programs.  Now, start up MATLAB and add the folders to the MATLAB search path.  The search path is the list of directories in which MATLAB expects to find M-files. When searching for an M-file, MATLAB will search these directories in order, using the first one it finds.

To view and change the MATLAB search path, use the Set Path dialog box:

### Open the dialog box by selecting File > Set Path.

The Set Path dialog box opens, listing all folders on the search path.

### Select the option Add with Subfolders

### In the resulting Browse for Folder dialog box, select the folder you want to add to the search path (for instance, D:\AUTOFlux_programs) and click ok.

### You can now see the specified folder with all its subfolders to the top of the search path.

### Finally, click SAVE to keep changes for use in the current and future sessions.

NOTE: for more details on the search path, type “search path” in the MATLAB help.

## Flux m-files nomenclature and filename renaming procedure

Once the paths to the routines have been defined, the next step is to rename the programs to match the current research project.  The main codes are renamed for every project to make it easier for archiving the programs with the data at the end of the cruise.  This allows also tracking down changes within a specific project and helps to prevent modified programs to interfere with other projects.

Xcruise_yyyy (yyyy being the year) is a generic name that corresponds to the name of the project.  This is used as a version qualifier in the naming of the MATLAB scripts of interests, as well as in the cruise database format.  Try to respect this arrangement as it might otherwise create conflict with the processing routines. For instance, rename flux_eval_Xcruise_yyyy.m to flux_eval_STRATUS_2009.m for a project called STRATUS 2009.

There are quite a few programs to rename. You can either do it manually, or you can use the function filerename.m to facilitate the task. Here is how to use that function:

* to rename read_parameters_Xcruise_yyyy.m to read_parameters_STRATUS_2009.m, type the following in the Matlab prompt:

filerename(D:\AUTOFlux_programs\read_parameters_Xcruise_yyyy.m','STRATUS_2009')

This will replace the string Xcruise_yyyy by STRATUS_2009.

* to rename all the M-files containing the string Xcruise_yyyy, type:

filerename(D:\AUTOFlux_programs\flux\*Xcruiseyyyy*.m','STRATUS_2009')

## Configuring read_parameters_Xcruise_yyyy.m

The next step is to specify the configuration used for a particular project. To do so, open the parameter file read_parameters_Xcruise_yyyy.m with Matlab editor, and sets the adequate parameters for your project. Note that this script is usually one directory above the flux programs as it might be used by other scripts (for other instruments).

Here is a configuration example:

% *********************************************************************

% *********************************************************************

% ***  Parameter m-file flux_eval_XXX.m.                    ***

% ***  Written by LB on July 06                             ***

% ***                                                       ***

% ***  Note: - Do not forget to put the character '\' at the end    ***

% ***      of each path!                                        ***

% ***        - Comment style is '%'                                 ***

% *********************************************************************

% *********************************************************************

% Modified by SPdeS 17 October 2008

% Modified by LB 12 June 2009

% Modified by LB 07 September 2009

%

%This routine sets the parameters for the cruise.

%################## Cruise informations  ######################################

cruise='Xcruise';          % Cruise name

yyyy='2009';               % year (string)

ship='RHB';                % Research vessel

In this section, you specify the name, the year and the place where the project occurs

%################## Flux programs and files #################################

way_raw_data_flux='T:\NTAS_2009\RHB\flux\Raw\';        % Raw data path

way_proc_data_flux='C:\Data\CRUISES\NTAS09\data\'; % Processed data path

way_spec_data_flux='C:\Data\CRUISES\NTAS09\data\';

way_images_flux='C:\Data\CRUISES\NTAS09\data\';

Here, you specify the path of the raw data as well as the paths of where to put the processed data and images.  Note that below are declared paths for other instrumentation.

%##################%  ceilo files %####################################

way_images_ceilo='C:\Data\CRUISES\NTAS09\data\RHB\ceilometer\CL31\Raw_Images\'; % daily saved impates

way_raw_data_ceilo='C:\Data\CRUISES\NTAS09\data\RHB\ceilometer\CL31\Raw\';  % Raw Data

way_proc_data_ceilo='C:\Data\CRUISES\NTAS09\data\RHB\ceilometer\CL31\Processed\'; % Processed Data

%##################%  mwr files %####################################

way_raw_images_mwr='H:\VOCALS_2008\RHB\radiometer\90Ghz\Raw_Images\';   %daily saved images path

way_raw_data_mwr='H:\VOCALS_2008\RHB\radiometer\90GHz\Raw\Sci\';        % Raw Data

way_proc_data_mwr='H:\VOCALS_2008\RHB\radiometer\90GHz\Processed\'; % Processed Data

%##################%  balloon files %####################################

way_raw_images_balloon='H:\VOCALS_2008\RHB\balloon\Raw_Images\';  %daily saved images

way_proc_images_balloon='H:\VOCALS_2008\RHB\balloon\Processed_Images\';  %processed images

way_raw_data_balloon='H:\VOCALS_2008\RHB\balloon\Raw\edt\';  % Raw Data

way_proc_data_balloon='H:\VOCALS_2008\RHB\balloon\Processed\'; % Processed Data

In the sections below, you specify the instrument configuration, adjustments, limits, post-calibration values, etc… If you need to, you can add your own variables for a particular instrument.

% Adjustments & postcalibrations for flux observations

tsnake_adjustment=0; %degC;

ta_im_adjustment=0;

ta_etl_adjustment=0;

In here, we define the various temperature adjustments

%################## Sonic configuration #################################

sonicmodel='R3';          %Sonic model

fsonic=10;                %frequency (Hz)

rotationsonic=false;      %rotate 30 deg = true

outputsonic=1;      %Sonic output. 0=speed of sound, 1=Temperature (degC)

This section is where you define the sonic model, its frequency and configuration. Is it rotated 30deg from the main axis? Is the output temperature in degC or is it the speed of sound?

%################## Licor configuration  ##################################

flicor=10;            %frequency (Hz)

Here, you declare the licor sampling frequency

%################## Clear sky model configuration #########################

k1=0.05;                %aerosol optical depth, band 1

k2=0.05;                %aerosol optical depth, band 2

oz=0.2;                 %column ozone

iv=3.5;                 %column water vapor (cm), if not calculated from obs.

As the title of this section stated, this setup some variables for the clear sky model. Leave as it is if you don’t know what to put.

%################## Track map limits #####################################

Lonmin=-65;

Lonmax=-50;

Latmin=5;

Latmax=20;

Here, you define the limits of your track plot.

%##################  Other parameters  ########################################

zus=18.5;                %wind speed measurement height (m)

zts=15;                  %air T measurement height (m)

zqs=15;                  %air q measurement height (m)

Finally, this section declares the height of the main flux instrumentation.

This parameter m-file shall be unique for each project and it is entirely customizable. You can add variables that you want to, you can also write some comments at the bottom of the file, for instance to recall what was the configuration of that particular sensor.  This m-file will be used in conjunction with the logbook for post-processing process and it will help remembering the setup configuration.

## Starting the flux package

Now that you have added the folders to the Matlab Search Path, renamed your files and configured the read_parameters_Xcruise_yyyy.m , you are almost good to go!

The final step is to edit the main script flux_eval_Xcruise_yyyy.m . First, open the file with the Matlab editor.

  - The first thing to be changed is the name of the root path for the flux package. This is

declared in the variable Fluxroot. For instance, if your flux package is in D:\AUTOFlux_programs, put:    Fluxroot= D:\AUTOFlux_programs\';  % name of the path where the 'flux' folder + read_parameters file are installed.

The idea is to make sure that every time flux_eval_Xcruise_yyyy.m run, the root folder and all its subdirectories are at the top of the search path. This will avoid issues if two files have the same name on the processing computer. That is why the following commands are used:

cd([Fluxroot, 'flux'])         %Changes current directory to fluxroot

addpath(genpath(Fluxroot))     %adds flux folder and all of its subdirectories to the top of the MATLAB search path.

Note that in Matlab, the current directory is always searched first, before any directories in the search path.

  - The second step is to enter the valid name of the read_parameters_Xcruise_yyyy.m file.

%%%%%%%%%%%  Read parameters %%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

read_parameters_Xcruise_yyyy;     %reads the parameters for the cruise.

Replace Xcruise_yyyy by your project_yyyy name, like read_parameters_STRATUS_2009 for a STRATUS 2009 project.

  - One possible step before starting is to check and make sure that the headers match the data

file. Usually this will be checked in the lab prior to the experiment, but it’s good to keep that in mind if you have weird results…

You are now ready to start.  From the MATLAB prompt, type the following terminated by the Return key:

flux_eval_Xcruise_yyyy

The program will take approximately 5 minutes and it will display some information in MATLAB figure windows. It will also do an automatic ftp of selected files to the server back in Boulder, CO.

## Adding the flux package to the task scheduler

  - Editing “Run_Flux_Eval.bat”.

In the same directory as the flux_eval_Xcruise_yyyy.m program, there is a batch file called “Run_Flux_Eval.bat”.  To edit the batch file, right click on the file and select edit. A notepad window will appear and you should read the following line:

matlab -r flux_eval_Xcruise_yyyy

This tells to run flux_eval_Xcruise_yyyy.m with MATLAB.  You should of course modify this line to match the name of your flux_eval program. For instance, matlab -r flux_eval_STRATUS_2009 for a project called STRATUS 2009.

  - Adding the batch file to the Scheduled Tasks

* First, click Start, click All Programs, point to Accessories, point to System Tools, and then click Scheduled Tasks.
* Double-click Add Scheduled Task to start the Scheduled Task Wizard, and then click Next in the first dialog box.

* The next dialog box displays a list of programs that are installed on your computer, either as part of the Windows XP operating system, or as a result of software installation.

* To run the batch file “Run_Flux_Eval.bat”, click Browse, click the corresponding folder and file, and then click Open.

* Type a name for the task, for instance, run_flux_eval_Xcruise_yyyy, and then choose the Daily option.

* Click Next, specify the information about the day and time to run the task, for instance 45minutes past midnight. Leave Every Day option selected,  and then click Next. 
* Type the name and password of the user who is associated with this task. Make sure that you choose a user with sufficient permissions to run the program. By default, the wizard selects the name of the user who is currently logged on. On PC DAS04, the username is PS3DAS04\Administrator and the corresponding password is spyderman.

* Click Next, and then click Finish after you verify the choices that you have made.

Note:  If you want to change the configuration of the task, open the Properties dialog box by doing a right-click on the task, and then click Properties.

# Flux m-files description

The flux package routines are designed to monitor the instrument performance through some preliminary processing and display functions.  These include computation and display of sensible and latent heats, evaluation and display of the Licor window cleanliness, display of sea surface, air temperature, and relative humidity from both the IMET ship system (if available) and our own sensors.  In addition, a few selected time series and Fourier spectra are plotted for evaluation of sensor performance.

## flux_eval_Xcruise_yyyy.m

The main script to be run is called  flux_eval_Xcruise_yyyy.m. Below is a description of the program.

dv = clock;  % gets current date and time as date vector.

cdoy=datenum(dv(1),dv(2),dv(3))-datenum(dv(1),1,0);  %computes current doy

ddd=cdoy-1;  %ddd is here the previous doy prior to current doy

This part gets the current date, compute the current day-of-year (doy) and define ddd as the doy-1. This is mainly used when the flux package is run in automated mode. If you run the code manually, you can comment out these lines and specify manually a day-of-year by typing ddd=your specific day.

See section I.4. for description of the following:

Fluxroot='C:\Data\Projects\AUTOFlux_programs\';  % name of the path where the 'flux' folder + read_parameters file are installed.

cd([Fluxroot, 'flux'])         %Changes current directory to fluxroot

addpath(genpath(Fluxroot))     %adds flux folder and all of its subdirectories to the top of the MATLAB search path.

%%%%%%%%%%%  Read parameters %%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

read_parameters_Xcruise_yyyy;     %reads the parameters for the cruise.

Section below defines some options for the plots and data files. There are also other options about clearing variables, email confirmation, etc…

%%%%%%%%%%%  Defines some options %%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

plotit=true; % for making plots.

prtit=true;  % for printing plots--ineffective unless plotit is also true

graphformat='.png';  %select graphics format files

graphdevice='-dpng'; %select graphic device

saveit=true; % for saving data files

clearit=true;% for clearing data sometimes to save memory

emailconf=false; %for sending email confirmation to NOAA email recipient list (Send_email_to_PSD3group.m)

%set to false as it does not seem to work from DAS computers :(

report=[];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

The next lines read the data, do some process and some plots.

%%%%%%%%%%%%%%%%%%%%%%%%% Starts process %%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

eval([ 'read_met_day_', cruise, '_', yyyy])

read_met_day_Xcruise_yyyy.m : read and plot 1-minute data processed by the Campbell Scientific, create  the ascii files proc_pcddd.txt and proc_radddd.txt. Data included in the met file are radiometer data, air and sea temperatures, relative humidity, rain gauge, and pressure.

eval([ 'read_scs_day_', cruise, '_', yyyy])

read_scs_day_Xcruise_yyyy.m : read and plot 0.5Hz  IMET ship data (SCS), and creates the ascii file proc_scsddd.txt. Data included in the scs file are radiometer data, air and sea temperatures, relative humidity, rain gauge, wind data, and navigation data.

% read_gps_day_Xcruise_2009;

read_gps_day_Xcruise_yyyy.m: could be used to read and plot GPS data, but is optional as it is currently pretty slow to process. This saves time and computer memory.

eval([ 'read_son_day_', cruise, '_', yyyy])

read_son_day_Xcruise_yyyy.m : read and plot sonic anemometer data, and creates  the ascii file proc_sonddd.txt.

eval([ 'read_motion_day_', cruise, '_', yyyy])

read_motion_day_Xcruise_yyyy.m : read and plot motion pack data.

% read_head_day_Xcruise_2009;

read_head_day_Xcruise_yyyy.m : could be used to read and plot Crescent GPS data (differential GPS) . Currently commented to save time and computer memory.

licor_prefix='lic';

eval([ 'read_co2_', cruise, '_', yyyy])

read_co2_day_Xcruise_yyyy.m : read and plot LICOR data which includes water vapor and CO2.

% read_wave_day_Xcruise_2009;

read_wave_day_Xcruise_yyyy.m : could be used to read and plot Riegl 10Hz laser range data (wave height) . Currently commented to save time and computer memory.

eval([ 'timatch_5_', cruise, '_', yyyy])

timatch_5_Xcruise_yyyy.m : Inputs data and computes bulk flux statistics over 5-minute intervals.

eval([ 'timatch_30_', cruise, '_', yyyy])

timatch_30_Xcruise_yyyy.m : Inputs data and computes bulk flux statistics over 30-minute intervals.

The following section computes clear sky shortwave and longwave flux.

% compute radiation with model

jjx=min(length(latm),length(qvais));

rlclr=(.52+.13/60*abs(latm(1:jjx))+(.082-.03/60.*abs(latm(1:jjx))).*sqrt(qvais(1:jjx)')).*(5.67e-8*(Tvais(1:jjx)+273.15).^4);

clear jdy;

jdys=jd_pc';

latd=nanmean(latm);

lond=nanmean(lonm);

qa=qvais; % humidity needed for solar model

iv=ones(length(qa),1)*NaN;

% solar model

eval([cruise, '_', yyyy,'_Rsclear_1' ])

Xcruise_yyyy_Rsclear_1.m : computes clear sky solar flux

Below are some final plots made and saved in the image path way_images_flux. You could add your own plots if you wanted to.

if plotit

figure;plot(jd_pc,Rhvais,'.b',jd_scs,rhm,'.g');xlim([ddd ddd+1])

title(['Relative Humidity in %. ', cruise, yyyy]);

xlabel(['yearday', yyyy]);

legend('PSD', 'Ship');

if prtit; print(graphdevice,[way_images_flux '\RH_' num2str(ddd) graphformat]);xlim([ddd ddd+1]); end

figure;plot(jd_pc,Tsea,'b',jd_scs,tsgm,'.g');xlim([ddd ddd+1])

title(['Sea Temperature (C). ', cruise, yyyy]);

xlabel(['yearday ', yyyy]);

legend('PSD', 'Ship');

if prtit; print(graphdevice,[way_images_flux '\SST_' num2str(ddd) graphformat]);xlim([ddd ddd+1]); end

figure;plot(jd_pc,Tvais,'b',jd_scs,tam,'.g');xlim([ddd ddd+1])

title(['Air Temperature (C). ', cruise, yyyy]);

xlabel(['yearday ', yyyy]);

legend('PSD','Ship');

if prtit; print(graphdevice,[way_images_flux '\Tair_' num2str(ddd) graphformat]);xlim([ddd ddd+1]); end

ii=find(~isnan(rlclr));

figure;plot(jd_pc,pirm,'b',jd_scs,irm,'g',jd_scs(ii),rlclr(ii),'r');xlim([ddd ddd+1])

title(['IR Flux (W/m^2). ', cruise, yyyy]);

xlabel(['yearday ', yyyy]);

legend('PSD', 'Ship', 'Clearsky');

if prtit; print(graphdevice,[way_images_flux '\IRflux_' num2str(ddd) graphformat]);xlim([ddd ddd+1]); end

ii=find(~isnan(Rscl));

figure;plot(jd_pc,pspm,'.b',jd_scs,solarm,'.g',jd_pc(ii),Rscl(ii),'r');xlim([ddd ddd+1])

title(['Solar Flux (W/m^2). ', cruise, yyyy]);

xlabel(['Time of day (', yyyy, ')']);

legend('PSD', 'Ship','Clearsky');

if prtit; print(graphdevice,[way_images_flux '\SOLflux_' num2str(ddd) graphformat]);xlim([ddd ddd+1]); end

end % if plotit

disp(['END of flux_eval_' cruise yyyy ' yearday ' jd '.']);

Finally, ascii data files, plots, and log files are zipped and sent to PSD ftp/incoming. You can comment out this line when you run the codes manually and don’t want to send data to PSD ftp server.

%ftp selected data to our server

ftp_to_Boulder_v1;

The last section just creates a log files if an error was to occur between try and catch command. This will help diagnose possible problems

catch fluxstatus1

report = getReport(fluxstatus1);

jd=num2str(ddd);

fid=fopen([way_proc_data_flux 'logerror' jd  '.txt'],'w');

fprintf(fid,'%s',report);

fclose(fid);

ftp_to_Boulder_v1;

end

exit

The exit command terminates the current session of MATLAB when run in automated mode. If you run the code manually, you can comment out this command to look at the data and plots with Matlab.

Note: You can run a diagnostic program individually for a particular instrument. For instance, to check the sonic data for day-of-year 169, at the MATLAB prompt, type:

ddd=169

read_parameters_Xcruise_yyyy

plotit=true; prtit=true;  graphformat='.png'; graphdevice='-dpng';  saveit=true; clearit=true

eval([ 'read_son_day_', cruise, '_', yyyy])

read_son_day_Xcruise_yyyy.m

## Additional MATLAB scripts of possible value

Some additional MATLAB scripts which should be of value.

filecat.m :  Use that function to concatenate all the files from the a specified source to a destination file.  For instance, to concatenate all proc_pcddd.txt files into one unique file, type in the Matlab command: filecat('your directory\ proc_pc*.txt ','proc_pc_Xcruise_yyyy.txt')

Type help filecat for more information on that function

epicz_read_Xcruise_yyyy.m : If you want to look at some composite plots for your entire project ( to add to a report for example), you can use this script to produce composite plots. Similarly to flux_eval_Xcruise_yyyy.m, epicz_read_Xcruise_yyyy.m uses the read_parameters_Xcruise_yyyy.m script.  For that reason, edit the program and enter the valid name for the read_parameters_Xcruise_yyyy.m file.

## MATLAB figure windows description

The program flux_eval_Xcruise_yyyy.m will take approximately 5 minutes to run and it will display the following information in the MATLAB figure windows. It will also do an automatic ftp of selected files to the server back in Boulder, CO.

Figure1:  Barometric pressure from Vaisala

Figure2:  Temperatures (Tair_psd, Tseasnake, Case and Dome)

Figure3:  Solar downwelling flux

Figure4:  IR downwelling flux

Figure5:  Relative humidity from the Vaisala

Figure6:  Optical Raingauge

Figure7:  Aspirator backflow indicator

Figure8:  Optical Raingauge Function (V)

Figure9:  Sea snake temperature

Figure10:  SCS course and Gyro

Figure11:  SCS wind speed

Figure12:  SCS rain

Figure13:  SCS wind direction

Figure14:  SCS speed over ground

Figure15:  SCS sea and air temperatures

Figure16:  SCS salinity

Figure17:  SCS relative humidity

Figure18:  SCS solar and IR fluxes

Figure19:  Cruise Track

Figure20:  SCS Latitude versus Longitude, 1min averaging

Figure21:  Sonic spectrum (hhh=00)

Figure22:  Sonic spectrum (hhh=12)

Figure23:  Sonic spectrum (hhh=18)

Figure24:  Sonic temperature

Figure25:  Sonic anemometer - Relative wind components

Figure26:  Sonic anemometer - Relative wind direction

Figure27:  Sonic anemometer - Relative wind speed

Figure28:  Motion pack accelerometer and angulometer time series

Figure29:  Licor spectrum (hhh=00)

Figure30:  Licor spectrum (hhh=12)

Figure31:  Licor spectrum (hhh=18)

Figure32:  Licor specific humidity

Figure33:  Licor CO2

Figure34:  Licor box temperature

Figure35:  Licor box pressure

Figure36:  Licor sensor AGC value

Figure37:  Heat fluxes (Net, Hl, Hs, Rs, Rl), 5min averaging

Figure38:  True wind speed (PSD sonic and SCS), 5min averaging

Figure39:  True wind direction (PSD sonic and SCS), 5min averaging

Figure40:  Heat flux components (Hs, Hl, Rnet_long, Rain), 5min averaging

Figure41:  Friction velocity COARE algorithm 3.0, 5min averaging

Figure42:  Relative humidity (%) from PSD Vaisala and SCS (if available)

Figure43:  Sea temperature from PSD Seasnake and SCS (if available)

Figure44:  Air temperature from PSD Vaisala and SCS (if available)

Figure45:  IR flux from PSD and SCS (if available), with clear sky model

Figure46:  Solar Flux from PSD and SCS (if available), with clear sky model

The figures can be paged through by pressing the 'Alt' key to the left or right of the space bar, simultaneously with the 'Tab' key.  Repeated pressing of 'Alt'-'Tab' will page through the individual plots.  Note that the user can reverse the paging by pressing the 'Shift' key with the 'Alt' and 'Tab' keys.

These plots are intended to be utilized by the user as diagnostic tools to periodically investigate data integrity.  For example, the turbulence spectra (multiplied by frequency) should show a characteristic (-2/3) slope in the inertial-subrange frequencies, and a time series of ship motion variables will show oscillations corresponding to the ship's response to wave forcing.  Furthermore, comparison of variables such as temperature with similar instruments will be helpful in diagnosing problems.

# Contact

Send an email to ludovic.bariteau@noaa.gov if any issues or concerns with the MATLAB programs