## Sheet1
Instrument list - WHOTS 2022
One Vaisala weather sensor model WXT520 serial number E4020004, calibration 03/2020 (wxt1 in data file)
One Vaisala weather sensor model WXT520 serial number F2620007 calibration 03/2020 (wxt2 in data file)
One Eppley PSP (PSP1) serial number 28110F3 , calibration 8.19 – 03/2019
One Eppley PSP (PSP2) serial number 34290F3 , calibration 8.25 – 03/2019
One Eppley PIR (PIR1) serial number 34302F3, calibration 4.09 , Dome coef. 3.79 – 06/2021
One Eppley PIR (PIR2) serial number 30558F3, calibration 4.23 , Dome coef. 3.44 – 06/2021
One Vaisala Pressure sensor model PTB220 serial number A2710003
One Surface temperature sensor (sea snake)